## log
index | analysis_date | description | data_identifier | replicate_no | integration_time_s | dilution | RSU_area_1s | DOC_mg_L | Notes
1 | 2022-11-14 | Sample Blank 1 | BLK2211141 | 1 | 5 | 1 | 1460.238 |  | Sample Q
2 | 2022-11-14 | PreTea 1% SRM | preTea221114 | 1 | 5 | 1 | 1460.238 |  | Sample Q
3 | 2022-11-14 | MCSN092 | MCSN0922211011340 | 1 | 5 | 1 | 1460.238 |  | Sample Q
4 | 2022-11-14 | MCSN094 | MCSN0942211010937 | 1 | 5 | 1 | 1460.238 |  | Sample Q
5 | 2022-11-14 | MCSN098 | MCSN0982211011046 | 1 | 5 | 1 | 1460.238 |  | Sample Q
6 | 2022-11-14 | PostTea 1% SRM | postTea221114 | 1 | 5 | 1 | 1460.238 |  | Sample Q
7 | 2022-11-14 | Sample Blank 2 | BLK2211142 | 1 | 5 | 1 | 1460.238 |  | Sample Q
8 | 2022-11-14 | PreTea 1% SRM | preTea221114 | 1 | 5 | 1 | 2352.3914 |  | Manual

## description
Column Header | Description | Notes
index | Simply the numeric order of entry (e.g. 1, 2, 3, 4, etc…)
analysis_date | Data samples were ran on instrument (not collected in the field)
description | A brief description of the sample collected – 60-character max. | This description will be displayed on the top of final EEM figures
data_identifier | The file name from the aqualog
replicate_no | Numeric | Analytical Replicates must have identical Sample IDs
integration_time | Integration time of sample (e.g. 1, 2, etc…)
dilution | Include dilution factor here as decimal format (e.g. a 2-fold dilution with 1 part sample and 1 part water will have a dilution factor of 0.5).
RSU_area_1s | The RSU Adjust Area from the Raman Test | Use the one from the DI water if you're using that blank, otherwise use the one from the sealed water
DOC_mg_L | DOC concentration in mg/L of the original sample (not the diluted sample). | Samples with absorbance at 254 nm greater than 0.3 must be diluted.